## Sheet1
MANUFACTURER | MODEL | EQUIPMENT TYPE | LOCATION (HOSPITAL NAME / SITE NAME) | DEPARTMENT EQUIPMENT IS PRIMARILY USED IN | METHOD OF FINANCE AT PROCUREMENT | INITIAL COST OF EQUIPMENT INC VAT | ANNUAL MAINTENANCE COST | ACQUISITION DATE | PLANNED REPLACEMENT DATE | COMMENTS
Vertec | Hologic Fluoroscan Insight FD S/N 30012337 (WINT 10) | Mobile C Arm | Wrightington, Wigan & Leigh NHS Foundation Trust / Wrightington Site | Radiology | Trust | This information is being withheld under Section 43 of the Freedom of Information Act. | 950 | 2023-03-01 | 2031-32
GE Healthcare | Fluoroscan Insight FD Mini C-Arm S/N - S/N 30072022 (WINT 2) | Mobile C Arm | Wrightington, Wigan & Leigh NHS Foundation Trust / Wrightington Site | Radiology | Trust |  | 5352 | 2020-03-01 | 2030-31
GE Healthcare | Fluorostar S/N 00583MCA06 (WINT 1) | Mobile C Arm | Wrightington, Wigan & Leigh NHS Foundation Trust / Wrightington Site | Radiology | Trust |  | 5455 | 2014-12-01 | 2027-28
Vertec | Fluoroscan Insight FD Mini C-Arm S/N 30081935M (WINT 4) | Mobile C Arm | Wrightington, Wigan & Leigh NHS Foundation Trust / Wrightington Site | Radiology | Trust |  | 5352 | 2020-02-01 | 2027-28
GE Healthcare | OEC 9900 S/N E9-0896. System No 00583MCA04 (WINT 5) | Mobile C Arm | Wrightington, Wigan & Leigh NHS Foundation Trust / Wrightington Site | Radiology | Trust |  | 5563 | 2009-03-01 | 2027-28
GE Healthcare | OEC 7900 Large C Arm (Fluorstar) (Sys No 00583MCA05) WINT 6 | Mobile C Arm | Wrightington, Wigan & Leigh NHS Foundation Trust / Wrightington Site | Radiology | Trust |  | 5455 | 2013-06-01 | 2028-29
Vertec | Mini C Arm Fluoroscan Insight S/N 30-0823-03M | Mobile C Arm | Wrightington, Wigan & Leigh NHS Foundation Trust / Wrightington Site | Radiology | Lease |  | 950 | 2024-01-01 | 2031-32
GE Healthcare | 7900 OEC Fluorostar Series 1K x1K with monitors. S/N 10003MCAG2 (WINT 8) (MCA07) | Mobile C Arm | Wrightington, Wigan & Leigh NHS Foundation Trust / Wrightington Site | Radiology | Trust |  | 7697 | 2018-10-01 | 2028-29
Vertec | Fluoroscan Insight S/N 30042216 (WINT 9) | Mobile C Arm | Wrightington, Wigan & Leigh NHS Foundation Trust / Wrightington Site | Radiology | Trust |  | 900 | 2022-06-01 | 2029-30
GE Healthcare | Brivo S/N 00458MCA01 (LINT) | Mobile C Arm | Wrightington, Wigan & Leigh NHS Foundation Trust / Leigh Site | Radiology | Trust |  | 4975 | 2014-12-01 | 2027-28
GE Healthcare | OEC One CFD S/N 00458MCA02 (LINT1) | Mobile C Arm | Wrightington, Wigan & Leigh NHS Foundation Trust / Leigh Site | Radiology | Trust |  | 7800 | 2023-12-01 | 2033-34
GE Healthcare | OEC 7900 S/N 00348MCA03 | Mobile C Arm | Wrightington, Wigan & Leigh NHS Foundation Trust / RAEI Site | Radiology | Trust |  | 1393 | 2019-05-01 | 2029-30
GE Healthcare | OEC 9900 Elite (Sys No 00348MCA02) / S/N E21774 | Mobile C Arm | Wrightington, Wigan & Leigh NHS Foundation Trust / RAEI Site | Radiology | Trust |  | 5455 | 2011-04-01 | 2025-26
/
/
[11 empty] | // | /

## Sheet2
Trust | Screening
Lease | Assessment
MES | Screening and Assessment
Charity
PFI
Other